INFORMATION ON DOCTORAL THESIS

- Full name: Tran Manh Tri                                - Sex: Male

- Date of birth: 09-08-1981                                  - Place of birth: Tuyen Quang

- Admission decision number: 2385/SĐH date 29/06/2007, VietNam National University (VNU)- Ha Noi

- Changes in academic process:

Decision number 705/QĐ-SĐH, date 25/05/2009 for changed the official thesis title and the supervisors of the Natural Science University Director.

- Official thesis title: “Study on development of the hollow needle film microextraction combinated with gas chromatography to analyze the volatile organic compounds”.

- Major: Organic chemistry                                        - Code: 62 44 27 01

- Supervisors: Prof.PhD.Sci. Nguyen Duc Hue

Ass.Prof.Dr. Tran Thi Nhu Mai

- Summary of the new findings of the thesis:

+ It was studied to manufacture usefully the HNF-ME new device based on improvements of the SPME device. Wherefore, the HNF-ME technique has advantages than the SPME technique: the mechanical strength is increased so the device is reusable; the film thickness is increased so it is increase limit of determination of the method and micro extracting easily in headspace of aqueous samples and air samples (dynamic HNF-ME).

+ It is found the formula to calculate the film thickness and since it compared the film thickness resulting by the formula with observation by SEM. The accordance of these two ways allow to determine the film thickness by the semi-empirical formula instead of measuring directly.

+ Using the HNF-ME device combination with the GC-FID and GC-MS to found the analysis procedures of the BTEX compound groups in headspace of aqueous samples and air samples.

+ Using the HNF-ME device combination with the GC-ECD and GC-MS to found the analysis procedures of the chlorinated short-chain hydrocarbons in headspace of aqueous samples and air samples.

+ It has estimated the analysis parameters of 4 process by Origin 6.0 software. The analysis parameters for determination of the BTEX and chlorinated short-chain hydrocarbons in the headspace of aqueous samples and air samples are compared with these of some methods, that had before.

+ Application of the analysis procedure to analyze directly BTEX and chlorinated short-chain hydrocarbons in some aqueous and air environmental samples around Ha Noi city.

+ Study on the kinetics of distribution to confirm the theory foundation for analytical sorption process of analyte from sample on the film of the HNF-ME technique.

- Thesis-related publications:

- Nguyen Duc Hue, Nguyen Mai Dung, Tran Manh Tri (2006), “Study on hollow needle solid phase microextraction combined with GC/FID for determination of group BTEX compounds in water”, Journal of Science, Vietnam National University, Ha Noi, Natural Sciences and Technology, Vol.XXII, No.3C, pp.66-73

- Nguyen Duc Hue, Tran Manh Tri (2007), “Study on the method of hollow needle film microextraction combined with GC/FID and GC/MS for determination of the BTEX group aromatic hydrocarcons in the air”, Journal of Analytical Sciences, Vol.12, (No.4), pp.8-13

- Tran Manh Tri, Nguyen Duc Hue, Tran Thi Nhu Mai (2009), “Study on making the solid phase film of hollow needle microextraction”, Journal of Analytical Sciences, Vol.14, (No.1), pp.30-34

- Tran Manh Tri, Nguyen Duc Hue, Nguyen Mai Dung, Tran Thi Nhu Mai (2009), “Solid phase dynamic microextraction using an internal coated needle”, Journal of Science, Vietnam National University, Ha Noi, Natural Sciences and Technology, Vol.XXV, (No.2S), pp.332-339

- Tran Manh Tri, Nguyen Mai Dung, Nguyen Duc Hue, Tran Thi Nhu Mai, Dang Van Doan (2010), “Determination of volatile chlorinated hydrocarbon compounds in the air by hollow needle film-solid phase microextraction combined with gas chromatography (GC/ECG)”, Journal of Analytical Sciences – Vol.15, (No.3), pp.99-107.

Date:  March/07/ 2011

Graduate student

Tran Manh Tri